## Slide 1: Production of 98In with S3 Spectrometer
LINAC
58Ni (4.5MeV/u)
6 e+12 pps
Target
45Sc (0.5mg/cm2)
LEB set-up in
‘converging mode ’
D11
D21
ED31
D41
Identification
Slits
F4&F4bis
Slits
F3
Slits
F2&F2bis
Slits
FH11
Slits
F1
Magnetic separation
Mass separation

## Slide 2: Reaction for 98In production
58Ni(6e+12pps) (+ Target) | 45Sc | 58Ni | 46Ti | 40Ca (+Target) | 63Cu
4.5MeV/A | 2.6e-04mb 13 | - 0 | 4.5e-05mb 0.15 | 4.5MeV/A | 3.1e-04mb 24.3
7.5MeV/A | 3.8e-12mb 1.3e-07 | 8.3e-05mb 1.96 | 1.6e-10mb 7.8e-04 | 7.5MeV/A | 1.3e-11mb 7.99e-07
10MeV/A | 4.8e-19mb 0 | 3.8e-04mb 10.06 | - 0 | 10MeV/A | 3.7e-18mb 0
14.5MeV/A | - 0 | 9.6e.05mb 12.42 | 2.3e-25mb 0 | 14.5MeV/A | 2.2e-29mb 0

## Slide 3: Reaction for 98In production

## Slide 4: Reaction for 98In production
98In = 2.6e-04mb

## Slide 5: Fusion Cross Section Information
sf(CN)
Evaluated total fusion cross section (CN) = 1003.9mb
“Most favourable” charge state of the fragment after the target+stripper ≈ 27
≈ 1.8e-04mb @ <Eb>

## Slide 6: Angular Distribution of 98In
Sigma ≈ 33mrad
~ 75% transmission
at spectrometer entrance
=> 20msr angular acceptance

## Slide 7: Separation of fragments through slits
Total number of ions produced = 6e+12
98In produced = 1.1e+1pps
Slit opening
= ± 150mm

## Slide 8: Separation of fragments through slits
Total number of ions produced = 6e+12
98In produced = 1.1e+1pps
Slit opening
= ± 200mm
Primary beam intensity
≈ e+11pps

## Slide 9: Separation of fragments through slits
Total number of ions produced = 6e+12
98In produced = 1.07e+1pps
Slit opening (default)
= ± 150mm
Slit opening
= ± 170mm
Primary beam intensity
≈ e+10pps

## Slide 10: Separation of fragments through slits
Total number of ions produced = 3.45e+10
98In produced = 1.01e+1pps
Slit opening
= ± 40mm
Primary beam intensity
≈ e+10pps
Slit opening (default)
= ± 150mm

## Slide 11: Separation of fragments
Total number of ions produced = 2.2e+07
98In produced = 1e+1pps
Slit opening
= ± 100mm
No Primary beam !
Residue beam intensity
≈ 1e+4pps
Slit opening
= ± 170mm

## Slide 12: Separation of fragments through slits
Total number of ions produced = 1.9e+07
98In produced = 9.43e+0pps
Slit opening (default)
= ± 150mm
Residue beam intensity
≈ 1.5e+3pps
Slit opening
= ± 200mm

## Slide 13: Separation of fragments through slits
Total number of ions produced = 1.95e+07
98In produced = 9.36e+0pps

## Slide 14: Implantation in LEB gas
R. Ferrer et al., NIM B317, 570 (2013)
Total number of ions produced = 1.95e+07
98In produced = 9.36e+0pps
Implantation depth achieved
= (30-45)e+03μm